## Dashboard
|  | Clover |  |  |  | This is the "front page" where you can then navigate to where they need to go
ACDS Calibration Data
drop down list of versions
|  | Data Version | Data valid between
|  |  | xx/xx/xxxx | xx/xx/xxxx
Copies required data from database in required format to paste in audit spreadsheet.
This would be best if it ran as a macro? And didn't have to be saved before inserting in destination
Go to Chamber Info
Go to Electrometer Info
list all chambers in current version that have expired
Alerts:
TW30013 - 6157 - Expired xx/xx/xxxx
CC13 - xxxxx - due to expire xx/xx/xxxx
list all chambers in current version that will expire soon
links to functions to update data
ACDS Logo here
Admin use only:
Update current data
Enter new data
Version control
Copy Calibration data

## View ITEM calibration data
List Chambers
|  | click on s/n to expand | Chamber Name: | TW30012 - 5447
|  | s/n | Calibration date: | 2021-02-19
Farmer | TW30013 | 5447 | Cal# | CAL00928/02
5448
5449
|  | 5450 | N_D,w,Q_o | 53.64 | mGy/nC
6153
|  | 6154 | k_s |  |  | k_pol
|  | 6155 | Co-60 | 1.0001 |  | Co-60 | 1.0005
|  | 6156 | 6 | 1.0028 |  | 6 | 0.9996
|  | 6157 | 6FFF | 1.0046 |  | 6FFF | 0.9999
|  | 6158 | 10 | 1.0042 |  | 10 | 0.9992
|  | 6159 | 10FFF | 1.008 |  | 10FFF | 1
| CC13 | 14732 | 15 | 1.0042 |  | 15 | 0.99985
|  | 14733 | 18 | 1.0052 |  | 18 | 0.9994
14734
|  | 14735 | k_Q = a*(TPR20,10)2 + b*(TPR20,10) + c |  |  | MR linac
|  | 14736 | a | -0.4361 |  | kb | xxxxx
|  | 14737 | b | 0.3622
|  | 14738 | c | 0.935
14741
14698
17865
8397
8398
18644
18645
Electrometers
scoring criteria
IAEA tables
correction factors

## Enter new calibration data
List Chambers
|  | click on s/n to expand | Chamber Name: | TW30012 - 5447
|  | s/n | Calibration date: | 2021-02-19
Farmer | TW30013 | 5447 | Cal# | CAL00928/02
5448
5449
|  | 5450 | N_D,w,Q_o | New value | mGy/nC
6153
|  | 6154 | k_s |  |  | k_pol
|  | 6155 | Co-60 | New value |  | Co-60 | New value
|  | 6156 | 6 | New value |  | 6 | New value
|  | 6157 | 6FFF | New value |  | 6FFF | New value
|  | 6158 | 10 | New value |  | 10 | New value
|  | 6159 | 10FFF | New value |  | 10FFF | New value
| CC13 | 14732 | 15 | New value |  | 15 | New value
|  | 14733 | 18 | New value |  | 18 | New value
14734
|  | 14735 | k_Q = a*(TPR20,10)2 + b*(TPR20,10) + c |  |  | MR linac
|  | 14736 | a | -0.4361 |  | kb | xxxxx
|  | 14737 | b | 0.3622
|  | 14738 | c | 0.935 |  |  |  | ENTER into database
14741
14698
|  | 17865 | [5 empty] | this new entry will be recorded in the version number
|  | 8397 | [5 empty] | so that the calibration values at any given date in the past can be recalled
8398
18644
18645

## Create New Record
on this date I want to know what the calibration values were for any item
a version number will needed to catalog each change to the data within the database
| version number | date valid from | date valid to | what item was changed
most recent first